## Slide 1: DRACS calculation

## Slide 2: Common cause failure:
To defend your system against common cause failure you need :
reduce your coupling factors
reduce the probability of causes (1)
Coupling factors:
  Same design
  Same hardware
  Same function
  Same installation, maintenance, or operations staff
  Same procedures
  Same system/component interface
  Same location
  Same environment
Probability of causes
  assume they depend on:
    Max circuit temperature
    Max circuit flow
Maximum circuit temperature and flow will change, so there is a merit from the designer

## Slide 3: SIMSCAPE model

## Slide 4: Model improvements:
Hydraulic resistances are not calculated very properly
Use CFD data to calculate heat exchange pressure drop, equivalent heat exchange rates as a function of mass flow rates of 2 liquids
Not enough time!!!

## Slide 5: Parametric NaK results

## Slide 6: Parametric air results

## Slide 7: Working fluid selection:
The following should be considered for the fluid selection:
Normal operation:
  Thermal properties
    Conductivity
    Specific heat
  Fluid properties:
    Viscosity  hydraulic resistance
    Density with temperature
Accident operation:
  What if there is a leak from DRACS to the sodium pool: Na, fluid interaction